## Data
Instruments Used: | SCPI Version |  |  |  | Name | Gain | Offset
Keysight Technologies,N6701C,MY56000223,E.02.07.3231 | 1995 |  |  |  | Voltage | 0.00025 | 0.0015
Keysight Technologies,E36731A,MY62100050,K-01.00.93-01.00-01.00-01.00-2021010101 | 1999
Keysight Technologies,EDU34450A,CN60440004,K-00.00.93-00.07-00.19-00.26-2020110901 | 1997
PASS
| Time Generated: | 2023-07-11 10:38:42
| Voltage Set | Current Set | Voltage Measured | Current Measured | Voltage Absolute Error | Voltage Percentage Error (%) | Current Absolute Error | Current Percentage Error (%) | Upper Error Boundary | Lower Error Boundary | Condition ?
| 1 | 1 | 0.9993 | 1 | 0.00069936 | 0.069936 | 0 | 0 | 0.15025 | -0.15025 | PASS
| 2 | 1 | 1.9988 | 1 | 0.0012102 | 0.060511 | 0 | 0 | 0.1505 | -0.1505 | PASS
| 3 | 1 | 2.9988 | 1 | 0.0011879 | 0.039598 | 0 | 0 | 0.15075 | -0.15075 | PASS
| 4 | 1 | 3.9994 | 1 | 0.00062027 | 0.015507 | 0 | 0 | 0.151 | -0.151 | PASS
| 5 | 1 | 4.999 | 1 | 0.00098115 | 0.019623 | 0 | 0 | 0.15125 | -0.15125 | PASS
| 6 | 1 | 5.9983 | 1 | 0.0017196 | 0.02866 | 0 | 0 | 0.1515 | -0.1515 | PASS
| 7 | 1 | 6.9988 | 1 | 0.0012371 | 0.017672 | 0 | 0 | 0.15175 | -0.15175 | PASS
| 8 | 1 | 7.9982 | 1 | 0.0018269 | 0.022837 | 0 | 0 | 0.152 | -0.152 | PASS
| 9 | 1 | 8.9976 | 1 | 0.0023655 | 0.026283 | 0 | 0 | 0.15225 | -0.15225 | PASS
| 10 | 1 | 9.9983 | 1 | 0.0017267 | 0.017267 | 0 | 0 | 0.1525 | -0.1525 | PASS
| 11 | 1 | 10.9987 | 1 | 0.0012757 | 0.011597 | 0 | 0 | 0.15275 | -0.15275 | PASS
| 12 | 1 | 11.9986 | 1 | 0.0013973 | 0.011644 | 0 | 0 | 0.153 | -0.153 | PASS
| 13 | 1 | 12.9857 | 1 | 0.014288 | 0.10991 | 0 | 0 | 0.15325 | -0.15325 | PASS
| 14 | 1 | 13.9916 | 1 | 0.008365 | 0.05975 | 0 | 0 | 0.1535 | -0.1535 | PASS
| 15 | 1 | 14.9914 | 1 | 0.0086431 | 0.057621 | 0 | 0 | 0.15375 | -0.15375 | PASS
| 16 | 1 | 15.994 | 1 | 0.0060112 | 0.03757 | 0 | 0 | 0.154 | -0.154 | PASS
| 17 | 1 | 16.9935 | 1 | 0.0065284 | 0.038402 | 0 | 0 | 0.15425 | -0.15425 | PASS
| 18 | 1 | 17.9898 | 1 | 0.01025 | 0.056944 | 0 | 0 | 0.1545 | -0.1545 | PASS
| 19 | 1 | 18.9862 | 1 | 0.013808 | 0.072674 | 0 | 0 | 0.15475 | -0.15475 | PASS
| 20 | 1 | 19.9896 | 1 | 0.010389 | 0.051943 | 0 | 0 | 0.155 | -0.155 | PASS
| 21 | 1 | 20.9974 | 1 | 0.0025715 | 0.012245 | 0 | 0 | 0.15525 | -0.15525 | PASS
| 22 | 1 | 21.99 | 1 | 0.010009 | 0.045497 | 0 | 0 | 0.1555 | -0.1555 | PASS
| 23 | 1 | 22.984 | 1 | 0.015976 | 0.06946 | 0 | 0 | 0.15575 | -0.15575 | PASS
| 24 | 1 | 23.9909 | 1 | 0.0090639 | 0.037766 | 0 | 0 | 0.156 | -0.156 | PASS
| 25 | 1 | 24.9928 | 1 | 0.0071881 | 0.028752 | 0 | 0 | 0.15625 | -0.15625 | PASS
| 26 | 1 | 25.9936 | 1 | 0.0063512 | 0.024428 | 0 | 0 | 0.1565 | -0.1565 | PASS
| 27 | 1 | 26.9915 | 1 | 0.0084696 | 0.031369 | 0 | 0 | 0.15675 | -0.15675 | PASS
| 28 | 1 | 27.9964 | 1 | 0.0035943 | 0.012837 | 0 | 0 | 0.157 | -0.157 | PASS
| 29 | 1 | 28.9872 | 1 | 0.012802 | 0.044147 | 0 | 0 | 0.15725 | -0.15725 | PASS
| 30 | 1 | 29.9815 | 1 | 0.018457 | 0.061524 | 0 | 0 | 0.1575 | -0.1575 | PASS
| 1 | 1.5 | 0.9993 | 1.5 | 0.00070461 | 0.070461 | 0 | 0 | 0.15025 | -0.15025 | PASS
| 2 | 1.5 | 1.9987 | 1.5 | 0.0012759 | 0.063795 | 0 | 0 | 0.1505 | -0.1505 | PASS
| 3 | 1.5 | 2.9988 | 1.5 | 0.0012291 | 0.040972 | 0 | 0 | 0.15075 | -0.15075 | PASS
| 4 | 1.5 | 3.9982 | 1.5 | 0.001816 | 0.045401 | 0 | 0 | 0.151 | -0.151 | PASS
| 5 | 1.5 | 4.998 | 1.5 | 0.0019986 | 0.039973 | 0 | 0 | 0.15125 | -0.15125 | PASS
| 6 | 1.5 | 5.9983 | 1.5 | 0.0016976 | 0.028293 | 0 | 0 | 0.1515 | -0.1515 | PASS
| 7 | 1.5 | 6.998 | 1.5 | 0.0019909 | 0.028441 | 0 | 0 | 0.15175 | -0.15175 | PASS
| 8 | 1.5 | 7.9984 | 1.5 | 0.0016133 | 0.020166 | 0 | 0 | 0.152 | -0.152 | PASS
| 9 | 1.5 | 8.9979 | 1.5 | 0.0021444 | 0.023827 | 0 | 0 | 0.15225 | -0.15225 | PASS
| 10 | 1.5 | 9.9974 | 1.5 | 0.0026293 | 0.026293 | 0 | 0 | 0.1525 | -0.1525 | PASS
| 11 | 1.5 | 10.9984 | 1.5 | 0.0016466 | 0.014969 | 0 | 0 | 0.15275 | -0.15275 | PASS
| 12 | 1.5 | 11.9986 | 1.5 | 0.0013521 | 0.011268 | 0 | 0 | 0.153 | -0.153 | PASS
| 13 | 1.5 | 12.9886 | 1.5 | 0.01144 | 0.088003 | 0 | 0 | 0.15325 | -0.15325 | PASS
| 14 | 1.5 | 13.9923 | 1.5 | 0.0076569 | 0.054692 | 0 | 0 | 0.1535 | -0.1535 | PASS
| 15 | 1.5 | 14.9884 | 1.5 | 0.011556 | 0.077043 | 0 | 0 | 0.15375 | -0.15375 | PASS
| 16 | 1.5 | 15.9898 | 1.5 | 0.010202 | 0.063761 | 0 | 0 | 0.154 | -0.154 | PASS
| 17 | 1.5 | 16.9892 | 1.5 | 0.01076 | 0.063294 | 0 | 0 | 0.15425 | -0.15425 | PASS
| 18 | 1.5 | 17.9936 | 1.5 | 0.0064037 | 0.035576 | 0 | 0 | 0.1545 | -0.1545 | PASS
| 19 | 1.5 | 18.9915 | 1.5 | 0.0085223 | 0.044854 | 0 | 0 | 0.15475 | -0.15475 | PASS
| 20 | 1.5 | 19.9911 | 1.5 | 0.0089337 | 0.044669 | 0 | 0 | 0.155 | -0.155 | PASS
| 21 | 1.5 | 20.9895 | 1.5 | 0.010516 | 0.050074 | 0 | 0 | 0.15525 | -0.15525 | PASS
| 22 | 1.5 | 21.9867 | 1.5 | 0.013344 | 0.060652 | 0 | 0 | 0.1555 | -0.1555 | PASS
| 23 | 1.5 | 22.9863 | 1.5 | 0.013717 | 0.05964 | 0 | 0 | 0.15575 | -0.15575 | PASS
| 24 | 1.5 | 23.9917 | 1.5 | 0.0082609 | 0.03442 | 0 | 0 | 0.156 | -0.156 | PASS
| 25 | 1.5 | 24.994 | 1.5 | 0.0059686 | 0.023874 | 0 | 0 | 0.15625 | -0.15625 | PASS
| 26 | 1.5 | 25.9943 | 1.5 | 0.0057468 | 0.022103 | 0 | 0 | 0.1565 | -0.1565 | PASS
| 27 | 1.5 | 26.9884 | 1.5 | 0.011599 | 0.042957 | 0 | 0 | 0.15675 | -0.15675 | PASS
| 28 | 1.5 | 27.9854 | 1.5 | 0.014574 | 0.052048 | 0 | 0 | 0.157 | -0.157 | PASS
| 29 | 1.5 | 28.9857 | 1.5 | 0.01432 | 0.049381 | 0 | 0 | 0.15725 | -0.15725 | PASS
| 30 | 1.5 | 29.9909 | 1.5 | 0.0091164 | 0.030388 | 0 | 0 | 0.1575 | -0.1575 | PASS
| 1 | 2 | 0.99903 | 2 | 0.00096659 | 0.096659 | 0 | 0 | 0.15025 | -0.15025 | PASS
| 2 | 2 | 1.9981 | 2 | 0.0019317 | 0.096586 | 0 | 0 | 0.1505 | -0.1505 | PASS
| 3 | 2 | 2.9987 | 2 | 0.0013256 | 0.044186 | 0 | 0 | 0.15075 | -0.15075 | PASS
| 4 | 2 | 3.9975 | 2 | 0.0025135 | 0.062838 | 0 | 0 | 0.151 | -0.151 | PASS
| 5 | 2 | 4.9977 | 2 | 0.002334 | 0.04668 | 0 | 0 | 0.15125 | -0.15125 | PASS
| 6 | 2 | 5.9983 | 2 | 0.001677 | 0.02795 | 0 | 0 | 0.1515 | -0.1515 | PASS
| 7 | 2 | 6.9973 | 2 | 0.0027436 | 0.039194 | 0 | 0 | 0.15175 | -0.15175 | PASS
| 8 | 2 | 7.9975 | 2 | 0.0025445 | 0.031806 | 0 | 0 | 0.152 | -0.152 | PASS
| 9 | 2 | 8.998 | 2 | 0.0019891 | 0.022102 | 0 | 0 | 0.15225 | -0.15225 | PASS
| 10 | 2 | 9.9986 | 2 | 0.0014356 | 0.014356 | 0 | 0 | 0.1525 | -0.1525 | PASS
| 11 | 2 | 10.998 | 2 | 0.0019621 | 0.017837 | 0 | 0 | 0.15275 | -0.15275 | PASS
| 12 | 2 | 11.9979 | 2 | 0.0021361 | 0.017801 | 0 | 0 | 0.153 | -0.153 | PASS
| 13 | 2 | 12.9899 | 2 | 0.010143 | 0.078026 | 0 | 0 | 0.15325 | -0.15325 | PASS
| 14 | 2 | 13.9889 | 2 | 0.011089 | 0.079206 | 0 | 0 | 0.1535 | -0.1535 | PASS
| 15 | 2 | 14.9934 | 2 | 0.0066275 | 0.044183 | 0 | 0 | 0.15375 | -0.15375 | PASS
| 16 | 2 | 15.991 | 2 | 0.0089509 | 0.055943 | 0 | 0 | 0.154 | -0.154 | PASS
| 17 | 2 | 16.9903 | 2 | 0.0097052 | 0.057089 | 0 | 0 | 0.15425 | -0.15425 | PASS
| 18 | 2 | 17.9931 | 2 | 0.0068635 | 0.038131 | 0 | 0 | 0.1545 | -0.1545 | PASS
| 19 | 2 | 18.9856 | 2 | 0.014428 | 0.075938 | 0 | 0 | 0.15475 | -0.15475 | PASS
| 20 | 2 | 19.9905 | 2 | 0.0094915 | 0.047457 | 0 | 0 | 0.155 | -0.155 | PASS
| 21 | 2 | 20.9855 | 2 | 0.014531 | 0.069196 | 0 | 0 | 0.15525 | -0.15525 | PASS
| 22 | 2 | 21.9901 | 2 | 0.0098761 | 0.044891 | 0 | 0 | 0.1555 | -0.1555 | PASS
| 23 | 2 | 22.9896 | 2 | 0.010442 | 0.045399 | 0 | 0 | 0.15575 | -0.15575 | PASS
| 24 | 2 | 23.9888 | 2 | 0.011239 | 0.046831 | 0 | 0 | 0.156 | -0.156 | PASS
| 25 | 2 | 24.9859 | 2 | 0.014135 | 0.056541 | 0 | 0 | 0.15625 | -0.15625 | PASS
| 26 | 2 | 25.993 | 2 | 0.0070404 | 0.027078 | 0 | 0 | 0.1565 | -0.1565 | PASS
| 27 | 2 | 26.9931 | 2 | 0.0068508 | 0.025373 | 0 | 0 | 0.15675 | -0.15675 | PASS
| 28 | 2 | 27.9868 | 2 | 0.013177 | 0.047061 | 0 | 0 | 0.157 | -0.157 | PASS
| 29 | 2 | 28.9854 | 2 | 0.014613 | 0.050388 | 0 | 0 | 0.15725 | -0.15725 | PASS
| 30 | 2 | 29.9959 | 2 | 0.0041393 | 0.013798 | 0 | 0 | 0.1575 | -0.1575 | PASS